## Foglio1
Surgical face mask
Published on: 13 November 2020 - Version: 1
WHO Item name: | Required technical specifications: | Certificates for product safety and quality assurance, as requested or equivalent:
Surgical mask | Medical mask, good breathability, internal and external faces should be clearly identified, 98% droplet filtration, preferably fluid resistance | Fluid resistant masks (surgical masks): • EN 14683 Type IIR • ASTM F2100 Level 1, 2 or 3, • YY 0469, with at least 98% bacterial droplet filtration or alternative equivalent standard