## Kangaroo mother care kit
Mother care kit, kangaroo care
i | Version No.
ii | Date of initial version
iii | Date of last modification | October 2023
iv | Date of publication
v | Completed / submitted by | WHO working group
Name, category and coding
1 | WHO Category / Code | Under development
2 | Generic name | Mother care kit, kangaroo care
3 | Specific type or variation (optional) | This is not a medical device
Purpose of use
4 | Clinical or other purpose | The kit is designed to facilitate Kangaroo Care, a method of neonatal care where premature or low birth weight infants are placed skin-to-skin on the mother's or caregiver's chest. This close physical contact helps regulate the infant's body temperature, heart rate, and breathing. It has been shown to improve overall infant health, reduce the risk of infection, and promote bonding between the baby and caregiver.
5 | Level of use (if relevant) | General outpatient and outreach services for primary care; First-level (district) hospital services; Second-level and third-level hospital services and specialized outpatient services
6 | Clinical department/ ward(if relevant) | Outpatient care, Emergency service, Intensive care, Inpatient care
7 | Overview of functional requirements
Technical characteristics
10 | Detailed requirements | Cotton sleeveless shirt (open at the front) to allow the face, chest, abdomen, arms, and legs to remain in skin-to-skin contact with the mother’s chest and abdomen in the warmth and care mother. At least a KMC carrier/ bag. At least baby clothes (front open preferred). At least diaper/nappy. At least a warm hat (woolen hat/cap preferred). At least a pair of warm socks (woolen preferred). Basic training instructions.
11 | Displayed Alarms | N/A
12 | User adjustable settings | N/A
Physical/chemical characteristics
13 | Components(if relevant) | N/A
14 | Mobility, portability(if relevant) | N/A
15 | Raw Materials(if relevant) | N/A
Utility requirements
16 | Electrical, water and/or gas supply (if relevant) | N/A
Accessories, consumables, spare parts, other components
17 | Accessories (if relevant) | Basic IkMC (immediate Kangaroo Mother care) training kit
18 | Sterilization process for accessories (if relevant) | Reusable medical linen including baby clothes should be disinfected in a chlorine solution, washed, and autoclaved in a steam sterilizer in health facilities as appropriate.
19 | Consumables / reagents (if relevant) | N/A
20 | Spare parts (if relevant) | N/A
21 | Other components (if relevant) | N/A
Packaging
22 | Sterility status on delivery (if relevant) | N/A
23 | Shelf life (if relevant) | Shelf life of at least years on storage at 0˚C to +40˚C, relative humidity of 15 to 95%
24 | Transportation and storage (if relevant) | Capable of being transported/stored continuously in an ambient temperature of at least -30˚C to +60˚C and relative humidity of 15 to 95%. Capable of operating continuously in an ambient temperature of at least 0˚C to +40˚C and relative humidity of 15 to 95%
25 | Labelling (if relevant) | Product Name and Brand Usage Instructions: Provide concise and easy-to-understand instructions for using the kit, including how to wear the garments for both the mother and the baby, and any specific guidelines for kangaroo care. Safety Information: Include safety warnings and precautions, such as the importance of proper positioning of the baby, maintaining vigilance during use, and the need to have trained personnel available in clinical settings. Size and Sizing Guide: Indicate the available sizes and provide a sizing guide to help users choose the appropriate size for both mother and baby garments. Maintenance Instructions: Explain how to clean and care for the garments, including washing, drying, and any specific cleaning recommendations to maintain hygiene. Hygiene and Infection Control: In clinical settings, include guidelines for infection control, sterilization, or disinfection procedures to ensure a safe and sanitary environment. Product Components: List all components included in the kit, such as garments, blankets, or any additional accessories. Materials and Fabric Information: Specify the materials and fabrics used in the kit, particularly if they are hypoallergenic, breathable, or specially designed for sensitive skin. Compliance Statements: Include statements about compliance with relevant standards or regulations, especially if the kit is intended for clinical use.
Environmental requirements
26 | Context-dependent requirements | Capable of being stored continuously in an ambient temperature of at least 0–50 °C and relative humidity of 15–85%, preferably 90%. Capable of operating continuously in an ambient temperature of at least 10–40 °C and relative humidity of 15–85%, preferably 90%.
Training, installation and utilization
27 | Pre-installation requirements(if relevant) | Not required.
28 | Requirements for commissioning (if relevant) | N/A
29 | Training of user/s (if relevant) | World Health Organization‎. Recommendations for care of the preterm or low-birth-weight infant https://www.who.int/publications-detail-redirect/9789240058262
30 | User care(if relevant) | World Health Organization‎. Kangaroo mother care: a practical guide. https://apps.who.int/iris/handle/10665/42587
Warranty and maintenance
31 | Warranty | At least 2 years from the date of purchase
32 | Maintenance tasks | N/A
33 | Type of service contract | N/A
34 | Spare parts availability post-warranty | N/A
35 | Software / Hardware upgrade availability | N/A
Documentation
36 | Documentation requirements | The instruction manual should include Standard Operating Procedures for using the product, and day-to-day maintenance/how to carry out aseptic processes not only in health facilities as well as at home.
Decommissioning
37 | Estimated Life Span | N/A
Safety and standards
38 | Standards, for the manufacturer and the equipment | General quality management (e.g. ISO 9001:2015 Quality management systems – Requirements)
39 | Regulatory Approval / Certification | N/A
40 | International standards | ISO 10993 outlines the requirements for evaluating the biological safety of medical devices. Kangaroo Care kits should be assessed for their biocompatibility to ensure they do not pose risks to the health of mothers and infants.