## Kangaroo, wrap
Wrap, kangaroo care
i | Version No.
ii | Date of initial version
iii | Date of last modification | October 2023
iv | Date of publication
v | Completed / submitted by | WHO working group
Name, category and coding
1 | WHO Category / Code | Under development
2 | Generic name | Wrap, kangaroo care
3 | Specific type or variation (optional) | Kangaroo, carrying pouch. Kangaroo, newborn, support binder/wrap. This is not a medical device
Purpose of use
4 | Clinical or other purpose | The support binder for immediate Kangaroo Mother care (iKMC) helps mothers hold their babies safely close to their chest; Used to support the mother and the baby in position for the duration of skin-to-skin contact, clothing, and maintain body temperature.
5 | Level of use (if relevant) | General outpatient and outreach services for primary care; First-level (district) hospital services; Second-level and third-level hospital services and specialized outpatient services
6 | Clinical department/ ward(if relevant) | Oupatiente care, Emergency service, Intensive care, Labor and delivery, Inpatient care
7 | Overview of functional requirements | It’s a simple piece of fabric, that saves the lives of ‘at-risk’ newborns given to mothers with babies born prematurely or with an extremely low birth weight; includes a set of soft fabric wraps and basic training for keeping the baby safe and secure.
Technical characteristics
10 | Detailed requirements | Secure Positioning: The wrap should securely hold the infant in a kangaroo care position, ensuring safety and stability during skin-to-skin contact. Thermoregulation: The wrap must be designed to maintain the infant's body temperature, offering protection from hypothermia while allowing for proper ventilation. Easy Access for Breastfeeding: Kangaroo Care wraps should provide easy and discreet access for breastfeeding, enabling the baby to feed while in a skin-to-skin position. Adjustable Straps and Closures: Wraps should have adjustable straps and closures to accommodate different body sizes and ensure a comfortable fit for both the mother/caregiver and the infant. Hygienic and Easy to Clean: Wraps should be machine-washable and easy to clean to maintain hygiene in both clinical and home settings. Durability: The wrap should be durable to withstand frequent use, especially in clinical settings, without losing its functionality or structure. Size and Sizing Guide: The wrap should be available in different sizes, and a sizing guide should be provided to help users select the appropriate size for both the mother/caregiver and the baby. Materials and Fabric Quality: The fabric should be breathable, hypoallergenic, and gentle on the infant's sensitive skin. Easy Donning and Doffing: Kangaroo Care wraps should be easy to put on and take off, ensuring convenience for parents and caregivers.
11 | Displayed Alarms | N/A
12 | User adjustable settings | N/A
Physical/chemical characteristics
13 | Components(if relevant) | N/A
14 | Mobility, portability(if relevant) | N/A
15 | Raw Materials(if relevant) | N/A
Utility requirements
16 | Electrical, water and/or gas supply (if relevant) | N/A
Accessories, consumables, spare parts, other components
17 | Accessories (if relevant) | Basic IkMC (immediate Kangaroo Mother care) training kit
18 | Sterilization process for accessories (if relevant) | Reusable medical linen, including baby clothes, should be disinfected in a chlorine solution, washed, and autoclaved in a steam sterilizer in health facilities as appropriate.
19 | Consumables / reagents (if relevant) | N/A
20 | Spare parts (if relevant) | N/A
21 | Other components (if relevant) | N/A
Packaging
22 | Sterility status on delivery (if relevant) | N/A
23 | Shelf life (if relevant) | Shelf life of at least years on storage at 0˚C to +40˚C, relative humidity of 15 to 95%
24 | Transportation and storage (if relevant) | Capable of being transported/stored continuously in an ambient temperature of at least -30˚C to +60˚C and relative humidity of 15 to 95%. Capable of operating continuously in an ambient temperature of 0˚C to +40˚C and relative humidity of 15 to 95%
25 | Labelling (if relevant) | Labeling on the primary packaging to include: Name and/or trademark of the manufacturer. Information for particular storage conditions (temperature, pressure, light, humidity). Manufacturer’s product reference Manufacture and expiry date, lot number Main characteristics (dimensions, capacity) Recommended storage conditions, Information for handling
Environmental requirements
26 | Context-dependent requirements | Capable of being stored continuously in an ambient temperature of 0–50 °C and relative humidity of 15–85%, preferably 90%. Capable of operating continuously in an ambient temperature of 10–40 °C and relative humidity of 15–85%, preferably 90%.
Training, installation and utilization
27 | Pre-installation requirements(if relevant) | Not required.
28 | Requirements for commissioning (if relevant) | N/A
29 | Training of user/s (if relevant) | World Health Organization‎. Recommendations for care of the preterm or low-birth-weight infant https://www.who.int/publications-detail-redirect/9789240058262
30 | User care(if relevant) | World Health Organization‎. Kangaroo mother care: a practical guide. https://apps.who.int/iris/handle/10665/42587
Warranty and maintenance
31 | Warranty | At least 2 years from the date of purchase
32 | Maintenance tasks | N/A
33 | Type of service contract | N/A
34 | Spare parts availability post-warranty | N/A
35 | Software / Hardware upgrade availability | N/A
Documentation
36 | Documentation requirements | The instruction manual should include Standard Operating Procedures for using the product, and day-to-day maintenance/how to carry out aseptic processes not only in health facilities as well as at home.
Decommissioning
37 | Estimated Life Span | N/A
Safety and standards
38 | Standards, for the manufacturer and the equipment | General quality management (e.g. ISO 9001:2015 Quality management systems – Requirements) Manufacturers should consider international guidelines and best practices provided by industry organizations, such as recommendations from the World Health Organization (WHO) and the American Academy of Pediatrics (AAP) for neonatal care and Kangaroo Care.
39 | Regulatory Approval / Certification | N/A
40 | International standards | ISO 10993 specifies requirements for evaluating the biological safety of medical devices, including considerations for biocompatibility. Manufacturers should assess the materials used in their Kangaroo Care equipment to ensure they are biocompatible and do not pose risks to the health of infants and caregivers.