## Foglio1
Eye splash shield
Published on: 13 November 2020 - Version: 1
WHO Item name: | Required technical specifications: | Certificates for product safety and quality assurance, as requested or equivalent:
Protective goggles, wraparound, soft frame, indirect vent | Good seal with the skin of the face, Flexible PVC frame to easily fit with all face contours with even pressure, Enclose eyes and the surrounding areas, Accommodate wearers with prescription glasses, Clear plastic lens with fog and scratch resistant treatments, Adjustable band to secure firmly so as not to become loose during clinical activity, Indirect venting to avoid fogging, May be re-usable (provided appropriate arrangements for decontamination are in place) or disposable. | • EN 166, • ANSI/ISEA Z87.1, or alternative equivalent set of standards