## Foglio1
Lubricating jelly
Published on: 19 November 2020 - Version: 1
WHO Item name: | Required technical specifications: | Dimensions / Sizes / Presentation: | Material: | Certificates for product safety and quality assurance, as requested or equivalent
Lubricating Jelly | Lubricating jelly is a sterile, water-soluble, latex-free, alcohol-free gel intended for use on intact skin, on mucous membranes and in natural body orifices. Sterile, greaseless lubricating jelly used in many clinical procedures such as: nasopharyngeal airway insertion, feeding tube insertion, endoscopy and ultrasound intracavitary examinations. Great viscosity for better resolution. | Available in different formats and different tubes volume capacity. | N/A | N/A