## Simulator breastfeed
Simulator, breastfeeding, trainer
i | Version No.
ii | Date of initial version
iii | Date of last modification | October 2023
iv | Date of publication
v | Completed / submitted by | WHO working group
Name, category and coding
1 | WHO Category / Code | Under development
2 | Generic name | Simulator, breastfeeding, trainer
3 | Specific type or variation (optional)
Purpose of use
4 | Clinical or other purpose | Wearable simulator to demonstrate proper positioning and attachment for breastfeeding and breast milk expression.
5 | Level of use (if relevant) | General outpatient and outreach services for primary care; First-level (district) hospital services; Second-level and third-level hospital services and specialized outpatient services
6 | Clinical department/ ward(if relevant) | Outpatient care, Inpatient care, Labor and delivery services, Intensive care, medical education/training
7 | Overview of functional requirements | Anatomically Accurate Model: A lifelike breast model with realistic nipple and areola to simulate breastfeeding. Adjustable Firmness: The simulator should allow for adjusting the firmness of the breast to mimic variations in breast tissue. Milk Ejection: The ability to simulate milk ejection to teach hand expression and proper latch techniques. Positioning and Latching: Trainees should be able to practice different breastfeeding positions and latching techniques. Flow Control: The simulator should allow for control over milk flow to simulate varying degrees of milk flow during breastfeeding. Feedback Mechanism: Provide feedback on correct breastfeeding techniques and positioning. Durability and Ease of Cleaning: The simulator should be easy to clean and maintain to ensure hygiene.
Technical characteristics
10 | Detailed requirements | Materials of the simulator: Neoprene, poly vinyl chloride (PVC), Polypropylene - PP, Silicone, Chlorinated polyvinyl chloride- -CPVC, Polyester, Nylon, Lycra. Realistically sculpted and anatomically accurate, feeling smooth/resilient. Latex-free. Adjustable strap-ons, to secure the simulator to the neck and waist of the user. Silicone nipple-shaped conducts with orifice to pour the water that simulates mother milk.
11 | Displayed Alarms | N/A
12 | User adjustable settings | N/A
Physical/chemical characteristics
13 | Components(if relevant) | Bottle, 500 ml, with cap. Premature infant feeding cup, 50 ml
14 | Mobility, portability(if relevant) | Portable, ideally realistic weight and size
15 | Raw Materials(if relevant) | Latex-free manikins - ideally made of silicone rubber, if not, made of plastics.
Utility requirements
16 | Electrical, water and/or gas supply (if relevant) | Relevant fluid specifications for inflatable manikins (fluid type, quantity, temperature, etc)
Accessories, consumables, spare parts, other components
17 | Accessories (if relevant) | Attachments to ensure the model can be secured on a mannequin or demonstrator. Availability of a manikin in form of a newborn, anatomically correct, for use with the breastfeeding simulator. Appropriate refillable tanks. Premature infant feeding cup (paladin). A soft/hard carrying case with a durability guaranteed under normal use.
18 | Sterilization process for accessories (if relevant) | Easily disinfectable by either rubbing vigorously with alcohol wipes or by use of chemical agents, as recommended by the manufacturer and in compliance with regional/organizational regulatory protocols for manikin disinfection. The product should be cleaned with soap and water prior to any disinfection methods.
19 | Consumables / reagents (if relevant) | N/A
20 | Spare parts (if relevant) | N/A
21 | Other components (if relevant) | N/A
Packaging
22 | Sterility status on delivery (if relevant) | N/A
23 | Shelf life (if relevant) | Shelf life of at least 5 years on storage at 0˚C to +40˚C, relative humidity of 15 to 95%
24 | Transportation and storage (if relevant) | Capable of being transported/stored continuously in an ambient temperature of at least -30˚C to +60˚C and relative humidity of 15 to 95%. Capable of operating continuously in an ambient temperature of at least 0˚C to +40˚C and relative humidity of 15 to 95%
25 | Labelling (if relevant) | Labeling on the primary packaging to include: Name and/or trademark of the manufacturer. Model or product reference. Information for particular storage conditions (temperature, pressure, light, humidity). Manufacturer’s product reference Manufacture and expiry date, lot number Main characteristics (dimensions, capacity) Recommended storage conditions Information for handling
Environmental requirements
26 | Context-dependent requirements | Storage environmental conditions: +20°C for 3 years. Short term for 50°C for up to 2 weeks. Operating conditions:Operating temperature: +15°C to +40°C Operating humidity: 5 to 95% RH.
Training, installation and utilization
27 | Pre-installation requirements(if relevant) | Not required.
28 | Requirements for commissioning (if relevant) | Local clinical staff to affirm completion of installation. Supplier to perform installation, safety, and operation checks before handover.
29 | Training of user/s (if relevant) | Source of useful information; Training of users in handling, disinfection, and basic maintenance should be provided: WHO Guidelines on basic newborn resuscitation https://apps.who.int/iris/handle/10665/75157 WHO technical specifications of neonatal resuscitation devices. https://apps.who.int/iris/handle/10665/206540 ASTM F1453 - 92 Standard Guide for Training and Evaluation of First Responders Who Provide Emergency Medical Care (USA). https://www.astm.org/Standards/F1453.htm
30 | User care(if relevant) | User manual for handling, instructions for disinfection, and basic maintenance should be provided.
Warranty and maintenance
31 | Warranty | 2 year minimum from the date of purchase.
32 | Maintenance tasks | A list shall be provided of procedures required for routine maintenance.
33 | Type of service contract | N/A
34 | Spare parts availability post-warranty | 5 years from the date of purchase or more as per the manufacturer's offer. List of spares/ accessories, relevant part numbers, MOQ, and price list to be submitted along with the quotation
35 | Software / Hardware upgrade availability | N/A
Documentation
36 | Documentation requirements | The instruction manual should include the Standard Operating Procedure for using the product, day-to-day maintenance, a maintenance schedule, storage condition, cleaning, troubleshooting, safety details, warranty details with a scope, and postal, electronic, and telephone contacts of authorized dealer/country representative as appropriate. Documentation must also show recommended procedures for disposal and any probable hazards to the environment and/or community.
Decommissioning
37 | Estimated Life Span | At least 5 years
Safety and standards
38 | Standards, for the manufacturer and the equipment | ISO 14971 - Medical Devices - Application of Risk Management: ISO 14971 outlines principles and processes for managing risks associated with medical devices, including simulators. Manufacturers should perform risk assessments and implement risk controls based on this standard. ASTM F2906 offers guidelines for the development and validation of medical devices. Manufacturers can adapt these guidelines for simulators.
39 | Regulatory Approval / Certification | Free sales certificate (FSC). Certificate for exportation of medical device provided by the authority in the manufacturing country. Proof of regulatory compliance, as appropriate, per the product’s risk classification (e.g. Food and Drug Administration [FDA] and/or Conformité Européenne [CE]).
40 | International standards | IEC 60601-1 - Medical Electrical Equipment Safety Standards: This standard is crucial for simulators with electrical components. It specifies safety requirements for medical electrical equipment to protect patients and users from electrical hazards. IEC 62304 - Medical Device Software Standard: If the breastfeeding simulator includes software components, IEC 62304 provides guidance on software development processes, risk management, and maintenance. ISO 10015 - Quality Management - Guidelines for Training: ISO 10015 provides guidelines for developing and providing training programs, which may be applicable to breastfeeding simulator training. ASTM F2906 - Standard Practice for Rule-Based Development of a Medical Device: International Electrotechnical Commission (IEC) Standards: Various IEC standards cover aspects of medical electrical equipment, including safety, electromagnetic compatibility, and software. Human Factors Engineering Standards: Adhering to human factors and usability engineering standards (e.g., ANSI/AAMI HE75, ISO 62366) can help ensure that the simulator is user-friendly and intuitive for healthcare professionals.